## SIGNAL / FUNCTION GENERATORS

TLC-S1

  Microcontroller based design

  0.1Hz to 1MHz

  Sine, Square & Triangle

  Variable DC offset

  Variable Amplitude output and -20dB Attenuated output

  20Vp-p output in open circuit

  4 Digit LED Display

TLC-S2

  Microcontroller based design

  0.1Hz to 1MHz

  Sine, Square & Triangle

  Variable fine frequency with multi turn variation

  Variable DC offset

  Variable Amplitude output and -40dB Attenuated output

  20Vp-p output in open circuit

  6 Digit LED Display

  External frequency readout

TLC-S3

  Microcontroller based design

  0.1Hz to 1MHz

  Sine, Square, Triangle & Pulse

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-30dB,-40dB,-50dB,-60dB,-70dB Attenuator

  20Vp-p output in open circuit

  6 Digit LED Display

  External frequency readout

  50Ω/600Ω impedance selection

TLC-S3

  Microcontroller based design

  0.2Hz to 2MHz

  Sine, Square, Triangle & Pulse

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-30dB,-40dB,-50dB,-60dB,-70dB Attenuator

  20Vp-p output in open circuit

  6 Digit LED Display

  External frequency readout

  50Ω/600Ω impedance selection

TLC-S3

  Microcontroller based design

  0.3Hz to 3MHz

  Sine, Square, Triangle & Pulse

  Variable fine frequency with multi turn variation

  Variable DC offset

  Variable Amplitude outputs -40dB Attenuated output

  20Vp-p output in open circuit

  6 Digit LED Display

  50Ω/600Ω impedance selection

TLC-S3

  Microcontroller based design

  16x2 LCD display for a frequency amplitude readout and functional display

  0.1Hz to 1MHz

  Sine, Square, Triangle & Pulse

  Variable duty cycle

  Variable fine frequency with INT/EXT (EXT upto 3 MHz counter)

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-40dB

  50Ω/600Ω impedance selection

  20Vp-p output in open circuit

TLC-S3

  Microcontroller based design

  16x2 LCD display for a frequency amplitude readout and functional display

  0.2Hz to 2MHz

  Sine, Square, Triangle & Pulse

  Variable duty cycle

  Variable fine frequency with INT/EXT (EXT upto 3 MHz counter)

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-40dB

  50Ω/600Ω impedance selection

  20Vp-p output in open circuit

TLC-S3

  Microcontroller based design

  16x2 LCD display for a frequency amplitude readout and functional display

  0.3Hz to 3MHz

  Sine, Square, Triangle & Pulse

  Variable duty cycle

  Variable fine frequency with INT/EXT (EXT upto 3 MHz counter)

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-30dB,-40dB

  50Ω/600Ω impedance selection

  20Vp-p output in open circuit

TLC-S3

  Microcontroller based design

  16x2 LCD display for a frequency amplitude readout and functional display

  0.3Hz to 3MHz

  Sine, Square, Triangle & Pulse

  Variable duty cycle

  Variable fine frequency with INT/EXT (EXT upto 3 MHz counter)

  Variable DC offset

  Variable Amplitude outputs -10dB,-20dB,-30dB,-40dB

  50Ω/600Ω impedance selection

  20Vp-p output in open circuit