### OPERATIONAL AMPLIFIER TRAINERS

### Operational Amplifier Trainer

  Built in fixed DC supplies of 1V,2V,3V,+15V,-15V @ 250mA

  Vaiable regulated power supply of 0-5V @ 250mA

  Four Op-Amps provided on board by using LM 324 IC, and a single Op-amp using 741 IC.

  Different values of capacitors and resistors, diodes to construct different circuits provided on board.

  One 10kΩ potentiometer is provided on board.

### Function Generator using OP Amp Trainer

  With Built in fixed power supplies of +15V,-15V @ 250mA

### Active Bandpass Filter using Op-Amp Trainer

  Built in fixed power supplies +15V,-15V @ 250mA

  Different values of capacitors,resistors and one 10KΩ potentiometer is provided to observe different responses of the filters.

### Active Band - Reject Filter (Wide band)

  Built in fixed power supplies +15V,-15V @ 250mA

  TL 084 IC is used as Op-amp.

  Different values of resistors and capacitors are provided to vary the output frequencies.

### Active Notch Filter (Narrow Band Filter)

  Built in fixed power supplies +15V,-15V @ 250mA

  741 iC is used as Op-amp

  Different values of resistors and capacitors are provided to vary the output frequencies.

### Phase Shift Oscillator using Op-Amp Trainer

  Built in fixed power supplies +12V,-12V @ 250mA

  741 IC is used as Op-amp

  Different values of capacitors are provided to vary the output frequencies.

### Schmitt Trigger using 555 IC and Op-amp Trainer

  Built in fixed power supplies of +12V,-12V @ 250mA

  IC 741 and IC 555 are used

  Different values of resistors and capacitors are used to vary the output frequencies

### Square Wave Generator using OP-AMP Trainer

  Built in fixed power supplies +15V,-15V @ 250mA

  The frequency can be varied by varying different sets of resistors and 
   capacitors.Amplitude level also can be adjusted by using potentiometers.

  Additinal Op-Amp is given for external use.

### Instrumentation Amplifier using Op-Amp Trainer

  Built in fixed power supplies of +15V,-15V @ 250mA

  Variable power supply of 0-20mV DC

  Different values of resistors to observe different outputs.

  One 10KΩ potentiometer provided on board.

### High Pass Filter using OP-Amp Trainer

  Built in fixed power supplies +15V,-15V @ 250mA

  Additional Op-Amp is provided for external use.

  Different values of resistors, capacitors and one 10KΩ  potentiometer provided to vary the output waveforms.

### Low Pass Filter using OP-Amp Trainer

  Built in fixed power supplies +15V,-15V @ 250mA

  Additional Op-Amp is provided for external use.

  Different values of resistors, capacitors and one 10KΩ potentiometerprovided to observe different output waveforms.

### Sample and Hold using LF 398 IC Trainer