### FIBER OPTIC TRAINERS

### Fiber Optic Digital Link Trainers

  Built in fixed power supplies of +6V.

  PIC Micro controller 16F84 is used as Encoder and Decoder.

  Built in circuits for transmitter and receiver in different trainer kits.

  Two meter optical fiber cable provided.

### Fiber Optics Analog Link Trainers

  Built in fixed power supplies of +6V.

  Inbuilt variable AF signal 2KHz to 20KHz (Sine & Triangle)

  Two fiber optic LED's with different wave lengths 660nm, 850nm.

  1 meter and 5 meter plastic optical fiber cables with In line SMA adaptor

### Laser Diode Transmitter & Receiver Trainers

  Built in fixed power supplies of +6V.

  In built variable AF signal 2KHz to 20KHz (Sine & Traingle)

  A wave length of 650nm provided on board.

  2meter plastic fiber optical cable and 2 meter glass cable are provided with the kit

### Measurement of Numerical Aperture Trainer

  Built in fixed power supplies of +6V

  650nm wave length fiber optic LED is provided on the trainer kit.

  1 meter and 5 meter optical fiber cables are provided with the kit.

### Advanced Fiber Optics Trainer with PC to PC Communication

### Laser Source with Built in Power Supply