### NETWORK & THEOREMS

### m-Derived high and low pass filters Trainer

### Constant – K high and low pass filters Trainer

  With different values of capacitors and inductors provided on board to observe different outputs

### Kirchoff’s laws Trainer

  Built in variable voltage supply of 0 -12V.

  Built in fixed power supply of+5V.

  Different values of resistors provided to observe different outputs

### Series and Parallel Resonance (LCR) Trainer with one meter.

  One micro ammeter fixed in board (250uA)

  Different values of resistors, capacitors and inductors are given to observe different outputs.

### RC Circuits Trainer with two Digital meters.

  Built in fixed power supply of +15V.

  Built in variable power supply of 0-10V.

  0-20V,0-2000mA,meters provided on board.

  Speaker, Timer, Reset with charging and discharging selecting switch is provided onboard.

### Thevenin’s and Norton’s Theorems Trainer

  Built in variable power supply of 0-12V.

  Thevenin's and Norton's theorems and equivalent circuits are provided on one board.

### Superposition and maximum power transfer Theorem Trainer

  Built in fixed power supply of +5V.

  Built in variable power supply of 0-12V.

  Super position and maximum power transfer circuits are in one board.

RC low pass and high pass filters Trainer

### Miller’s Theorem Trainer

  Built in fixed power supplies of +12V, +5V

  Different values of resistors are provided to observe different outputs.

### Measurement of Image Impedance Trainer

  Built in variable power supply of 0-12V.

  Different values of resistors are provided to observe different outputs.

### RC & RL Circuits Trainer

  10KW potentiometer provided on board

  RC and RL low and high pass filters and series

  RLC circuit are provided in one board.

### Reciprocity Theorem Trainer

  Built in variable power supply of 0-12V

  General and equivalent circuits are provided in one board

### Phase Difference between voltage across and current through capacitor & inductor

### Millimans Theorem Trainer

  Built in fixed power supplies of +5V, +12V

  Built in variable power supply of 0-12V

### Compensation Theorem Trainer

  Built in fixed power supplies of +12V.

  Built in variable power supply of 0-12V