### SPECTRUM ANALYZERS

  Frequency Range : 1.1GHz Bandwidth

  Frequency Range : 3GHz Bandwidth

  With and without tracking generator

|  | Spectrum Analyzer 500MHz with Tracking Generator Frequency Range : 150 KHz to 500 MHz. 4 ½ Digit Display : Centre & Marker. |  |
| --- | --- | --- |
|  | Spectrum Analyzer 1050MHz with Tracking Generator Frequency Range 0.1 Hz to 1 MHz Operating Modes: Sine, Square, Triangle and DC |  |