# MEASURING INSTRUMENTS

Digital DC Micro Voltmeter

- +/- 2000μ to 20 Volts

- 3½ Digit Digital Display

Digital DC Nano Ammeter

- 0-10V DC source

- 200 nano amps to 200 micro amps

- nano amp resolution

- +0.1% Accuracy

- 3½ digit display

Digital Voltage and Current Source Meter

- 0-10V DC voltage source

- 0-100mA Current source

- Digital Display

Digital LCR meter

- Widest possible ranges 0.1μH/PF/OHM to 2000H/20,000μF/20 MΩ

- Digital Display

- 0.5% +1 count basic accuracy rightdown to 1μH/20,000 UFD

- Frequency selection/equivalent representaion automatically done

A F Output Power Meter

- mW to 30 W in 11 Decade ranges

- Resolution: 0.01mW,-20dbm

- db measurement: -20dbm to +40dbm at 600Ω Impedance 1mW=0dbm

- Frequency ranges:20Hz to 100KHz

- Fuse Protection