# DC REGULATED POWER SUPPLIES

TLC-P1

  0-30V Variable output voltage

  0-1/2/3A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P2

  0-30V Variable output voltage

  0-1/2/3A variable output current

  Dual channel output power supply

  Auto changeover for constant voltage mode to constant current mode depending on load

  Series and parallel operation can be used

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarities

  Fuse protection with fuse blown indicator

TLC-P3

  0-30V Variable output voltage

  0-2A variable output current

  Fixed DC voltages +5DC/+12V DC, -12V DC

  Dual channel output power supply

  Auto changeover for constant voltage mode to constant current mode depending on load

  Series and parallel operation can be used

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarities

  Fuse protection with fuse blown indicator

TLC-P4

  0-30V Variable output voltage

  0-5A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P5

  0-30V Variable output voltage

  0-12A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P6

  0-60V Variable output voltage

  0-1/2A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P7

  0-60V Variable output voltage

  0-5A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P8

  0-300V Variable output voltage

  0-100/200mA variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

TLC-P9

  0-300V Variable output voltage

  0-2A variable output current

  Single channel output power supply

  3½ Digit Digital Display for Voltage and current

  Low ripple voltage less tham 1mV rms

  Overload protection to prevent unit as well as circuitry

  Line regulation and load regulation 0.01%

  Output with positive and negative polarity

  Fuse protection with fuse blown indicator

Fixed DC Power Supplies

  5/+12/+26V DC output voltage

  0.1/1/1.5/2/5A output current

  Fuse protection