### PORTABLE DIGITAL METERS

TLC-DM1

  For the measurement of:200mA/2mA/20mA/200mA/2A/20A, ANY SINGLE RANGE

  Bench Top main operated

  7 segment LED type of 20/30mm(H) 3½ digit digital display

  1 in +1999 resolution for all measurements

  Accuracy less than +0.5%, for +2 least counts

TLC-DM2

  For the measurement of:200mV/2V/20V/200V/2000V, ANY SINGLE RANGE

  Bench Top main operated

  7 segment LED type of 20/30mm(H) 3½ digit digital display

  1 in +1999 resolution for all measurements

  Accuracy +0.1%, for +2 least counts

  Accuracy for 20V-1000V is +0.2%, for +2 least counts

TLC-DM3

  For the measurement of:200mA/2mA/20mA/200mA/2A/20A, ANY SINGLE RANGE

  Bench Top main operated

  7 segment LED type of 20/30mm(H) 3½ digit digital display

  1 in +1999 resolution for all measurements

  Accuracy less than +0.5%, for +2 least counts

TLC-DM4

  For the measurement of:200mV/2V/20V/200V/2000V ANY SINGLE RANGE

  Bench Top main operated

  7 segment LED type of 20/30mm(H) 3½ digit digital display

  1 in +1999 resolution for all measurements

  Accuracy +0.1%, for +2 least counts

  Accuracy for 20V-1000V is +0.2%, for +2 least counts

TLC-DM5

  For the measurement of:200uA/2000mA/200V/200mA/2V/20V

  Bench Top main operated

  7 segment LED type of 20/30mm(H) 3½ digit digital display

  1 in +1999 resolution for all measurements

  Accuracy +0.5%