# DECADE BOXES

DECADE CAPACITANCE BOXES

  Special thumbwheel switches

  Polyster capacitors

  Accuracy +1%

  4 Decade - 100PF to 1μF

  5 Decade - 100PF to 10μF

  6 Decade- 100PF to 100Μf

DECADE INDUCTANCE BOXES

  Special rotary swiches with low contact resistance

  With fuse protection

  Accuracy +5%

  4 Decade - 10μH to 100mH

  5 Decade - 10μH to 1H

DECADE RESISTANCE BOXES

  Special rotary swiches with low contact resistance

  Wire wound resistors for lower values

  Accuracy +1%

  With fuse protection

  4 Decade - 10Ω to 100KΩ

  5 Decade - 10Ω to 1MΩ

  6 Decade - 1Ω to 1MΩ